## Products
ID | Item Code | Description | Category | Subcategory | Unit | Unit Price | Currency | Specifications | Dimensions | Material | Brand | Warranty | Availability
prod_1 | PHYS-TT-001 | PHYSICS TEACHER TABLE : W 2180 X D 750 X H 900 MM | Physics Lab | Teacher Furniture | NOS | 6766 | AED | HPL worktop 13mm thick, powder-coated frame | 2180 x 750 x 900 mm | HPL/Steel | PENTA | 1 Year | Available
prod_2 | PHYS-IB-001 | PHYSICS ISLAND BENCH : W 3080 X D 750 X H 900 MM | Physics Lab | Student Furniture | NOS | 7519 | AED | HPL worktop 13mm thick, suspended cabinets | 3080 x 750 x 900 mm | HPL/Steel/MDF | PENTA | 1 Year | Available
prod_3 | STOR-CAB-001 | TALL STORAGE CABINET WITH PANEL DOOR 1000X420X2100MM | Storage | Cabinets | NOS | 1515 | AED | Melamine MDF construction with panel doors | 1000 x 420 x 2100 mm | Melamine MDF | PENTA | 1 Year | Available
prod_4 | CHEM-TT-001 | CHEMISTRY LAB TEACHER TABLE : W 2180 X D 750 X H 900 MM | Chemistry Lab | Teacher Furniture | NOS | 8806 | AED | Phenolic chemical resistance worktop 16mm thick | 2180 x 750 x 900 mm | Phenolic/Steel | PENTA | 10 Years for worktop, 1 Year for other items | Available
prod_5 | FUME-CUP-001 | FUME CUPBOARD 1200 MM | Chemistry Lab | Safety Equipment | NOS | 25000 | AED | Complete fume cupboard with ventilation system | 1200 x 750 x 2100 mm | Chemical resistant materials | PENTA | 1 Year | Available
prod_6 | CHAIR-TCH-001 | TEACHER CHAIR | Seating | Chairs | NOS | 400 | AED | Ergonomic teacher chair with adjustable height | Standard office chair dimensions | Fabric/Steel | PENTA | 1 Year | Available
prod_7 | STOOL-STU-001 | STUDENT STOOL | Seating | Stools | NOS | 250 | AED | Laboratory stool with footrest | Standard laboratory stool | Plastic/Steel | PENTA | 1 Year | Available